Free printable from Deepsel · usedeepsel.com/equipment-maintenance-log-template · Version: September 2026 · One sheet per unit. Keep it in the unit's folder or clipped inside the control panel door, and copy each line into the spreadsheet version at the office.

# Equipment Maintenance Log

| Unit ID |  | Customer / building |  |
| --- | --- | --- | --- |
| Service address |  | Location on site |  |
| Type | ☐ Split AC + furnace ☐ Heat pump ☐ Package / RTU ☐ Mini split ☐ Other: ______ | Make |  |
| Outdoor model / serial |  | Indoor model / serial |  |
| Installed (date) |  | Parts warranty ends |  |
| Refrigerant | ☐ R-410A ☐ R-454B ☐ R-32 ☐ R-22 ☐ Other: ______ Factory charge: ______ lb | Filter size(s) / belt |  |
| Agreement tier | ☐ None ☐ Bronze ☐ Silver ☐ Gold | Access notes |  |

## Service history

One line per visit. Type: M = maintenance, R = repair, I = inspection, W = warranty, E = emergency, N = new install. Refrigerant added is pounds and type; the EPA requires that line on any appliance holding 50 lb or more, and it settles arguments on the small ones too.

| Date | Type | Tech | Work done / findings | Readings (ΔT, static, µF, amps, pressures) | Parts replaced | Refrig. lb, type | Inv. # | Next due |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

## Open items and recommendations

Anything found and not fixed on the day: worn parts, readings drifting toward the limit, code issues pointed out to the customer. Write the date you told the customer.

| Date found | Finding / recommendation | Customer told (date, how) | Resolved (date, invoice #) |
| --- | --- | --- | --- |

Keep this sheet at least three years (EPA refrigerant records and the IRS both ask for three), five if you hold a California contractor license, and for the life of the unit if a parts warranty is still running. The spreadsheet version with lookups and next-due formulas, and the printable checklists that feed it, are free at usedeepsel.com/checklists.