## Truck stock count
HVAC truck stock count (one copy per van)
Carry = the quantity on the van at the start of each day. Enter On hand at the count; Restock and Restock cost work themselves out. Blank Carry cells are yours to set. Rows with something to restock turn orange.
Truck / van #
Technician
Count date
Counted by
Category | Item | Sizes / values | Carry (start of day) | On hand | Restock | Unit cost | Restock cost | Supplier / part # | Notes | Where the Carry number comes from
Electrical
Electrical | Run capacitor, single, 440 V | 5, 7.5, 10, 15 MFD on Totaline's list; HomyScan adds 20 | 2 | [6 empty] | 2 of every common size: r/HVAC, Jan 2026
Electrical | Dual run capacitor, 440 V | 30/5, 35/5, 40/5, 44/5, 50/5, 55/5, 60/5, 70/7.5 (Totaline heating list) | 2 | [6 empty] | 2 of each from 35/5 to 80/7.5: r/hvacadvice, Jul 2025
Electrical | Dual run capacitor 45/5 and 45/7.5 |  | 4 | [6 empty] | 4 each of 45/5 and 45/7.5: r/hvacadvice, Jul 2025
Electrical | Universal multi-tap capacitor (Turbo 200 type) |  | 1 | [5 empty] | Temporary fit until the exact size is in hand | one Turbo 200: r/HVAC, Jan 2026 and Jun 2025
Electrical | Hard start kit |  | 4 | [6 empty] | 4 start kits: hvac-talk, May 2013
Electrical | Contactor, 24 V coil | 1-pole and 2-pole 30 A and 40 A; 3-pole for light commercial | 3 | [6 empty] | 3 each of 30 A and 40 A (hvac-talk, 2008); 5 of each (r/hvacadvice, Sep 2025); 10 of each (r/HVAC, Jan 2026)
Electrical | Fuses, 15 to 50 A, 250 V and 600 V | plus 3 A and 5 A blade fuses for control boards | 3 | [6 empty] | at least 3 of each size: r/HVAC, Oct 2024
Electrical | Transformer | 40 VA, 120/208/240 V primary, 24 V secondary; multi-tap | [7 empty] | 'a few': hvac-talk, May 2013
Electrical | Relays | fan relay SPST and SPDT 24 V; DPDT 24 V | [7 empty] | no quantity in any source
Electrical | Time-delay relay | delay-on-make, delay-on-break | [7 empty] | no quantity in any source
Electrical | Wire nuts, crimp terminals, thermostat wire | terminal kit, twist-on connector kit
Motors
Motors | Condenser fan motor, universal PSC | 1/3 to 1/6 HP, 208-230 V, 825 and 1075 rpm | 2 | [6 empty] | 2 multi-horsepower: hvac-talk, Jan 2008
Motors | Blower motor, universal PSC | 1/2 to 1/6 HP and 3/4 to 1/5 HP, 115 V and 230 V | 2 | [6 empty] | 2 multi-horsepower: hvac-talk, Jan 2008
Motors | Inducer motor, OEM control board | [8 empty] | sources split: on Johnstone's truck stock page, or order against the model and serial (HomyScan)
Gas heat
Gas heat | Hot surface igniter, universal nitride 120 V |  | 2 | [6 empty] | 'a couple universal igniters': r/HVAC, Dec 2024
Gas heat | Flame sensor, universal |  | 5 | [6 empty] | 5 flame sensors: r/HVAC, Dec 2025
Gas heat | Gas valve, universal single-stage | 24 V, fast opening, 1/2 x 1/2 (e.g. White-Rodgers 36J22-214) | 2 | [6 empty] | 2 single-stage universal valves: r/HVAC, Dec 2025
Gas heat | Gas valve, two-stage | e.g. White-Rodgers 36J54-214 | 1 | [5 empty] | Smart and intermittent-pilot valves: order them | 1 two-stage valve: r/HVAC, Dec 2025
Gas heat | Pressure switches | the common ranges in your area | [7 empty] | 'a few of each common': r/HVAC, Dec 2024
Gas heat | Limit switches, fan-limit control | [8 empty] | no quantity in any source
Gas heat | Thermocouples, thermopile | 24, 30 and 36 in | [7 empty] | check your history first: one truck held about 20 thermocouples and 10+ standing-pilot gas valves, against about 4 installed in 3 years: r/HVAC, Dec 2025
Gas heat | Sequencer (electric heat) | single and double | [7 empty] | no quantity in any source
Refrigerant circuit
Refrigerant circuit | Liquid line filter drier | 8 and 16 cu in, 3/8 in ODF; bi-flow drier for heat pumps | [7 empty] | 'Lots of driers': hvac-talk, May 2013
Refrigerant circuit | Schrader cores, port caps, locking caps | [8 empty] | no quantity in any source
Refrigerant circuit | Refrigerant: R-410A | 25 lb cylinder | [6 empty] | Sale needs a 608-certified buyer
Refrigerant circuit | Refrigerant: R-454B | 20 lb cylinder, red band, left-hand thread | [6 empty] | Division 2.1 for transport: carry upright | 3 jugs on one tech's truck: r/HVAC, Jun 2025
Refrigerant circuit | Refrigerant: R-32 | 20 lb cylinder, red band, left-hand thread | [6 empty] | Division 2.1 for transport: carry upright
Refrigerant circuit | Nitrogen |  | 2 | [5 empty] | Swap the empty one at the supply house | two bottles: r/HVAC, Nov 2023 and Apr 2025
Refrigerant circuit | Recovery cylinder | A2L-rated cylinder for R-454B and R-32 | 2 | [6 empty] | 'minimum of 2 25lb recovery tanks': r/HVAC, May 2025
Refrigerant circuit | Left-hand thread cylinder adapter (A2L) | [7 empty] | On both Totaline truck stock lists
Refrigerant circuit | Brazing rod and flux | 15% silver | [7 empty] | no quantity in any source
Refrigerant circuit | Oil | POE, mineral, vacuum pump oil | [7 empty] | no quantity in any source
Refrigerant circuit | TXV | [8 empty] | sources split: 'I always get two when I need one' (hvac-talk, 2013) or order them (HomyScan)
Controls
Controls | Thermostats | single-stage and two-stage heat/cool | [7 empty] | 'a few' (techtown); five different models (hvac-talk, 2013)
Controls | Float switch |  | 1 | [6 empty] | 'one or two': r/HVAC, Jul 2025
Condensate
Condensate | Condensate pump | 115 V, 230 V, mini-split | [7 empty] | no quantity in any source
Condensate | PVC drain fittings, traps, pan tablets | 3/4 in | [7 empty] | no quantity in any source
Filters and cleaning
Filters and cleaning | Air filters | 1, 2 and 4-5 in media in your area's common sizes | [7 empty] | no quantity in any source
Filters and cleaning | Coil cleaner | no-rinse evaporator foam | [7 empty] | no quantity in any source
Supplies and safety
Supplies and safety | Screws, tape, sealant, zip ties | [8 empty] | no quantity in any source
Supplies and safety | Fire extinguisher, dry powder or CO2 | near the charging area on A2L jobs | 1 | [6 empty] | one, per the R-454B install manual and Totaline's A2L tool list
Restock total

## Tool list
HVAC technician tool list
Fill Your policy on every row before the list goes to a new hire. Usually: where most sources put the tool. Yr: 1 = first term on school lists, 2 = scheduled later, dash = shop equipment. Prices: TruTech Tools sale price (SupplyHouse where marked), October 1, 2026.
Technician
Position
Start date
Shop
Section | Tool | Size / spec | Yr | Must be A2L rated | Usually supplied by | Your policy | Have it | Make / model | Serial # | Issued (date) | Returned (date) | Budget pick, price | Premium pick, price
A. Hand tools and safety gear (the apprentice's first year)
A | Multi-bit screwdriver (11-in-1 type) with Schrader bit |  | 1 |  | Tech | [6 empty] | Klein 32500 11-in-1, $15.97 | Klein 32527 11-in-1 with Schrader bits, $16.98
A | Thermostat screwdriver, precision screwdrivers |  | 1 |  | Tech
A | Phillips and flat screwdrivers | #1, #2; 1/4 in flat | 1 |  | Tech
A | Nut drivers | 1/4 and 5/16 in, magnetic | 1 |  | Tech | [6 empty] | Klein 646M 1/4 and 5/16 in pair, $26.99 | Klein 631 7-piece set, $59.99
A | Lineman's pliers | 9 in | 1 |  | Tech | [6 empty] | Hilmor 1885399 8-1/2 in, $35.92 | Klein D213-9NE 9 in, $35.98
A | Needle-nose pliers | 6 to 8 in | 1 |  | Tech | [6 empty] | Klein D203-6, $27.99 | KNIPEX 08 21 185, $42.47
A | Diagonal cutters |  | 1 |  | Tech
A | Tongue-and-groove pliers | 10 and 12 in | 1 |  | Tech
A | Wire stripper and crimper |  | 1 |  | Tech
A | Adjustable wrenches | 8 in and 10 or 12 in | 1 |  | Tech | [6 empty] | Hilmor 8 in, $28.61; Hilmor 10 in, $36.59
A | Combination wrench set | 1/4 to 3/4 in | 1 |  | Tech
A | Hex key set | SAE and metric | 1 |  | Tech
A | Tape measure | 25 ft | 1 |  | Tech
A | Torpedo level |  | 1 |  | Tech
A | Hammer | 16 oz | 1 |  | Tech
A | Utility knife |  | 1 |  | Tech
A | Aviation snips | left and right cut | 1 |  | Tech
A | Scratch awl, inspection mirror |  | 1 |  | Tech
A | Flashlight and headlamp |  | 1 |  | Tech
A | Jumper wires, test leads | insulated alligator clips | 1 |  | Tech
A | Hacksaw | 12 in | 1 |  | Tech
A | Pipe wrenches | 14 in, two | 2 |  | Varies
A | Tool bag |  | 1 |  | Tech
A | Safety glasses | ANSI Z87.1; prescription safety glasses are the exception | 1 |  | Shop (OSHA)
A | Cut-resistant gloves, respirator for attics | N95 or better | 1 |  | Shop (OSHA)
A | Safety-toe boots | often a boot allowance | 1 |  | Tech
B. Meters and test instruments
B | Clamp meter | volts, amps, ohms, microfarads, temperature | 1 |  | Tech | [6 empty] | Klein CL445, $109.98 | Fluke 902 FC, $367.19
B | Non-contact voltage tester |  | 1 |  | Tech | [6 empty] | Klein NCVT3P, $29.97 | Fluke 1AC-A1-II, $40.49
B | Pipe clamp thermometers, pocket thermometer | two clamps for superheat and subcooling | 1 |  | Tech | [6 empty] | Testo 115i (each), $109.65 | NAVAC NST1 wireless (each), $129.00
B | Psychrometer | dry bulb and wet bulb | 2 |  | Tech | [6 empty] | Fieldpiece PRH2, $89.25 | Fieldpiece JL3RH probe, $155.55
B | Manometer | gas pressure and static pressure | 2 |  | Varies | [6 empty] | UEi EM152, $167.95 | Fieldpiece SDMN6, $362.10
B | Micron gauge |  | 2 |  | Varies | [6 empty] | NAVAC NMV1, $193.00 | AccuTools BluVac+ Professional, $404.95
B | Wireless probe set | optional | 2 |  | Varies | [6 empty] | Testo Refrigeration Smart Probe Set, $476.85 | Fieldpiece JL3KH6 kit, $788.80
B | Combustion analyzer | CO and O2 | 2 |  | Shop | [6 empty] | UEi C161, $593.26 | Fieldpiece CAT45, $1,114.35
C. Refrigerant tools
C | Manifold gauges and hoses | R-454B and R-32 scales or library; 800 psi hoses, 4000 psi burst | 2 | Yes | Varies | [6 empty] | NAVAC NX1 digital, $449.00; JB A2L hose set, $89.37 | Fieldpiece SM482V 4-port digital, $822.80
C | Refrigeration service wrench | with 3/16 and 5/16 in hex adapters | 1 |  | Tech | [6 empty] | Malco RRW3, $19.68 | Yellow Jacket 60615, $30.16
C | Tubing cutters | mini, and standard to 1-1/8 in | 1 |  | Tech | [6 empty] | NAVAC NTC6, $20.00 | BlackMax BTC200R ratchet, $33.36
C | Deburring tool |  | 1 |  | Tech
C | Flaring tool | 45 degree, eccentric | 2 |  | Tech | [6 empty] | NAVAC NTF66, $107.00 | RectorSeal 87001 PRO-Fit kit, $195.32
C | Swaging tool, tube bender |  | 2 |  | Tech | [6 empty] | CPS FS275 flare and swage kit, $89.85 | Hilmor 1839015 compact swage kit, $472.70
C | Valve core removal tools | two | 2 |  | Tech | [6 empty] | AccuTools S10735 (each), $64.95 | Appion MGAVCT (each), $89.99
C | Left-hand thread cylinder adapter | for R-454B and R-32 cylinders | 2 | Yes | Varies | [6 empty] | JB QC-A2L-LH, $13.06 | Yellow Jacket 19186, $30.86
C | Vacuum pump | A2L rated; no gas ballast with A2L | - | Yes | Shop | [6 empty] | NAVAC NP5DP2 5 CFM, $426.23 | Fieldpiece VP87 8 CFM, $825.35
C | Recovery machine | EPA-certified for the refrigerant; A2L rated | - | Yes | Shop | [6 empty] | Appion G1Single, $699.99 | Fieldpiece MR45, $1,174.70
C | Recovery cylinders | DOT; A2L cylinder: left-hand thread, red band | - | Yes | Shop | [6 empty] | CPS CRX430T 30 lb (not A2L), $168.04 | Hilmor 30 lb A2L cylinder, $220.84
C | Electronic leak detector | A2L rated; never a flame-type detector | - | Yes | Shop | [6 empty] | Fieldpiece DR58 heated diode, $374.85 | INFICON D-TEK Stratus, $1,199.99
C | Refrigerant scale | calibrated | - |  | Shop | [6 empty] | UEi WRS110, $228.77 | Fieldpiece SR47, $392.70
C | Nitrogen cylinder and regulator | nitrogen flowing while brazing | - |  | Shop | [6 empty] | Western VN-500 regulator, $200.45 | MalcoEdge NRHD regulator, $212.50
C | Brazing outfit | air-acetylene or oxy-acetylene | - |  | Varies | [6 empty] | ASCO AKJ3-S air-acetylene kit, $292.59 | Western VBKIT-01 EZ Braze outfit, $405.00
C | Hand torch | MAPP or propane | 1 |  | Varies | [6 empty] | CPS BRHT5 hand torch, $52.52 | TurboTorch STK-9, $82.99
C | Fire extinguisher | dry powder or CO2, at the charging area | - | Yes | Shop
D. Power tools, ladders and shop equipment
D | Cordless drill and impact driver |  | 1 |  | Varies | [6 empty] | Milwaukee 3497-22 M12 FUEL kit, $249.00 (SupplyHouse) | Milwaukee 3697-22 M18 FUEL kit, $413.33 (SupplyHouse)
D | Drill bits, step bit, driver bits | 1/4 and 5/16 in hex | 1 |  | Varies
D | Hole saw kit |  | - |  | Varies
D | Reciprocating saw, other large power tools |  | - |  | Shop
D | Shop vacuum |  | - |  | Varies
D | Extension cords | 12 gauge, 50 and 100 ft | - |  | Varies
D | Ladders |  | - |  | Shop

## Notes and sources
Notes and sources
How to use the two tabs
Truck stock count | One copy per van. Carry is the quantity on the van at the start of each day. Enter On hand at the count; Restock is Carry minus On hand, and Restock cost multiplies it by your unit cost. A filled-in Carry is what working technicians report carrying, except the fire extinguisher's, which is from an R-454B installation manual (the source is in the last column). A blank Carry is yours to set from your own call history. HomyScan's rule: once you reach for a part more than once or twice in a season, carry two or three.
Tool list | The shop fills Your policy (Tech or Shop) on every row before the list goes to a new hire. Usually is where most union agreements, contractor surveys, job ads and technicians' own accounts put the tool; Varies means they split. Yr 1 = school programs require it in the first term, 2 = programs schedule it later, a dash = shop equipment. Must be A2L rated = the tool has to be rated for R-454B and R-32. Make/model and Serial # are the personal tool list a union agreement asks for, and the Issued and Returned dates are the receipt for shop-owned tools.
Rules worth a column
Recovery equipment (EPA) | 40 CFR 82.154(b): no one may service equipment holding R-22, R-410A, R-454B or R-32 without recovery equipment certified for that refrigerant under 82.158. Machines made since 2017 are certified under Appendix B3 (non-flammable) or Appendix B4 (flammable, adds UL 1963 Supplement SB). Recover to 0 inches Hg before opening a residential or light commercial system under 200 lb (82.156).
Certification (EPA) | Attaching or detaching hoses and gauges takes Type II or Universal certification (82.152, 82.161). A registered apprentice is exempt while closely and continually supervised by a certified technician, for two years from registration. Refrigerant is sold only to a certified technician or an employer that shows proof it employs one (82.154(c)).
A2L tools (industry guidance) | AHRI technician sheet: A2L rated vacuum pump, recovery tools rated for A2L, DOT approved recovery cylinder, nitrogen during brazing, locking caps. JB Industries and ACHR News: manifolds/gauges, vacuum pumps, recovery machines and leak detectors are the four that change. A2L recovery cylinders have left-hand valve threads (AHRI Guideline K-2024) and a red band, so hoses need a left-hand adapter.
Disposable cylinders (EPA, from Jan 1, 2028) | 40 CFR 84.116: used disposable cylinders go for heel removal, or a certified technician evacuates the heel to 15 in-Hg and signs a statement.
Cylinders on the van (DOT) | 49 CFR 173.6 materials of trade: each cylinder 100 kg (220 lb) gross or less; all materials of trade on the vehicle 200 kg (440 lb) or less. R-410A and nitrogen are Division 2.2; R-32 and R-454B are Division 2.1 flammable gases. For Division 2.1 the pressure relief device must be in the vapor space (49 CFR 177.840), so those cylinders ride upright.
Who pays (law) | 29 CFR 531.35: required tools may not cut into minimum wage or overtime in any workweek. California wage orders: required tools are the employer's unless the employee earns at least twice the state minimum wage ($16.90 an hour in 2026); the rule does not apply to apprentices registered with the state Division of Apprenticeship Standards. OSHA 29 CFR 1910.132(h): the employer pays for required PPE, except non-specialty safety-toe boots and prescription safety glasses worn off the job.
Sources | Every source, with the quoted text and the date read, is listed at usedeepsel.com/hvac-technician-tool-list. Prices are one retailer's sale price on October 1, 2026 and change often. Free from Deepsel, no email asked. Every free checklist and template: usedeepsel.com/checklists.